# Supplementary File

Supplement to: Sumariyono, Handayani D, Setiati I, Amalialjinan N, Abellia G, Anindyanti RD, et al. Formulation mice diet with low cholecalciferol content. Med J Indones. 2025. DOI:10.13181/mji.oa.257859

This file provides further information related to the study.

# Supplementary Information

| Supplementary Tables |  |
| --- | --- |
| Table S1. Nutrition content of custom diets | 2 |
| Table S2. Modifications of the procedure made throughout the study | 2 |
| Supplementary Figures |  |
| Figure S1. Average amount of food consumed each day | 3 |

Table S1. Nutrition content of custom diets

| Parameter | Nutrition facts |  |
| --- | --- | --- |
|  | Normal cholecalciferol diet | Low cholecalciferol diet |
|  | Serving size: 100 g Calories: 360 kcal Calories from fat: 65 kcal | Serving size: 100 g Calories: 363 kcal Calories from fat: 72 kcal |
| Total fat | 7.20 g | 7.97 g |
| Protein | 13.93 g | 13.77 g |
| Total carbohydrates | 59.96 g | 59.1 g |
| Moisture | 16.64 g | 16.94 g |
| Ash | 2.27 g | 2.21 g |

Table S2. Modifications of the procedure made throughout the study

|  | Hypothesized problem | Previous method | Solution | Results |
| --- | --- | --- | --- | --- |
| Trial 1 | Calibration error of laboratory equipment. | Levels of cholecalciferol, calcium, and phosphorus were measured using local laboratory equipment. | Samples were sent to Regional Health Laboratory for measurement. | Levels of cholecalciferol, calcium, and phosphorus did not match calculations. |
| Trial 2 | Uneven mixing of ingredients. | Ingredients were mixed manually by hand. | Ingredients mixed using a mortar. | Levels of cholecalciferol, calcium, and phosphorus were closer to calculations but still not within the acceptable range. |
| Trial 3 | The concentration of cholecalciferol solution was too high leading to a small volume and high viscosity. This could lead to uneven homogenization of ingredients. | - Cholecalciferol solution concentration 10,000 g/ml. - Cholecalciferol solution was added to corn oil, but not homogenized first before being added to the other ingredients. | - Cholecalciferol solution concentration 10 g/ml. - Cholecalciferol solution was added to corn oil and homogenized first before being added to the other ingredients. | Levels of cholecalciferol, calcium, and phosphorus matched calculations. |

Figure S1. Average amount of food consumed each day